## Main
Table 1
Category | Sub Category | Sub Category Detail | Recommendation | Detail | Order of Complemention | Estimated Cost | Material | Labor | Estimated kWh savings | Rebate Eligible | Comments
Home Efficiency | Insulation | Attic | Install | blown in Cellular | 4
Home Efficiency | Insulation | Attic | Replace | Blown-in cellular using R30 for 1,500 sf attic area | 4 | 2700
Home Efficiency | Insulation | Attic | Repair
Home Efficiency | Air Sealing | Attic | Air Sealing | Remove existing insulation, apply elastomeric |  | 1000-1500 |  |  |  |  | Whole house $2,500-$4,500 using AeroBarrier from Aero Seal
Home Efficiency | Insulation | Wall | Install | Blown-in cellular using for 1,500 sf attic area | 4 | [5 empty] | 2.50sf
Home Efficiency | Insulation | Crawlspace | Install | Air seal | 4
Home Efficiency | Insulation |  | Repair | Material & Labor Fiberglass batt |  | 2000 |  |  |  |  | 1350-3000, $90 - $2000
Home Efficiency | Insulation | Crawlspace | Replace |  | 4
Home Efficiency | Air Sealing - Whole House | Weather stripping | Install | Ext Doors, outlets, plumbing | 3
Home Efficiency | Air Sealing - Ext Doors, windows | Caulking | Install |  | 3
Home Efficiency | Alignment | Exterior doors | Install |  | 3
HVAC | Unit |  | Optimization |  | 6
HVAC | Unit |  | Duct Test |  |  | 350
HVAC | Unit |  | Repair |  | 6
HVAC | Elecrtrical Conversion |  | Replacement Gas |  | 6
HVAC | Unit |  | Replacement Heatpump |  | 6
HVAC | Ducting |  | Repair |  | 5 | 1000 | 250 | 750
HVAC | Ducting |  | Replace |  | 5 | 3000
Water Heater | Water Heater |  | Heat pump, Req 30 amp circuit |  |  | 3500 | 1750
Water Heater | Water Heater |  | Recirculation
Water Heater | Water Heater |  | Insulate plumbling |  |  |  | 30
Electrical | Panel Upgrade | Replacement | Upg to 200amp |  |  | 450
Electrical | EMU | [5 empty] | 250 | 150
Electrical | Solar |  | Optimization |  | 7
Electrical | Solar |  | Install |  | 7
Electrical | Appliances | Fridge | Replace |  | 2
Electrical | Appliances | Oven | Induction |  | 2
Electrical | Appliances | EV | Replace |  | 2
Electrical | Lighting |  | Optimization | Switches - Sensing outdoor, indoor, adjustable | 1
Electrical | Lighting |  | Replace |  | 1

## Heatpump
Gas Conversion to Heatpump
Component | Estimated Cost | Notes
3-Ton Heat Pump & Air Handler | $7,500 – $13,000 | Includes equipment and system installation labor.
New Ductwork (Attic) | $3,000 – $7,500 | Assumes 120–180 linear feet for a 1,500 sq. ft. home.
Electrical Upgrades | $500 – $1,500 | May be needed to support the high-voltage air handler.
Total Project Estimate | $11,000 – $22,000 | Before tax credits and rebates.

## Insulation - Crawlspace
Insulation - Crawlspace
Insulation Type | Cost per Sq. Ft. (Installed) | Total Estimated Cost
Fiberglass Batts | $0.90 – $2.00 | $1,350 – $3,000
Rigid Foam Board | $1.20 – $4.00 | $1,800 – $6,000
Blown-In (Cellulose) | $1.00 – $2.80 | $1,500 – $4,200
Spray Foam (Closed-Cell) | $2.00 – $8.00 | $3,000 – $12,000

## Insulation - Walls
Insulation Walls
Insulation Type | Cost per Sq. Ft. (Installed) | Total Estimated Cost
Blown-In Cellulose | $1.50 – $2.50 | $1,500 – $2,500
Blown-In Fiberglass | $1.80 – $3.00 | $1,800 – $3,000
Injection Foam | $3.00 – $5.00 | $3,000 – $5,000

## Insulation Attic
Insulation - Attic
Insulation Type | Cost per Sq. Ft. (Installed) | Total Estimated Cost
Blown-In (Cellulose/Fiberglass) | $1.00 – $2.80 | $1,500 – $4,200
Batt & Roll (Fiberglass) | $0.80 – $2.60 | $1,200 – $3,900
Spray Foam (Open Cell) | $2.00 – $5.00 | $3,000 – $7,500

## Water Heater
Water Heater
HPWH Unit: $1,200 – $3,000 for standard 50- to 80-gallon models.
Labor (Plumbing): $600 – $2,000 to disconnect the gas line, cap it, install the new unit, and run a necessary condensate drainage line.
Electrical (30 Amp Service): Adding a dedicated 30 amp, 240V circuit typically costs $550 – $1,500. If your existing electrical panel is full, a panel upgrade can add $1,200 – $2,000.

## Payback
Step 1: Upgrade Solution | Step 2: Est. Gross Cost | Step 3: Rebates/Tax Credits (-) | Step 4: Net Investment | Step 5: Est. Annual Savings | Simple Payback (Yrs)
Air Sealing & Insulation | 3500 | $1,200 (Tax Credit) | 2300 | 750 | 3.1 Years
Heat Pump HVAC | 14500 | $2,000 (Tax) + $1,000 (TECH) | 11500 | 1200 | 9.6 Years
Heat Pump Water Heater | 4500 | $2,000 (Tax) + $700 (GS) | 1800 | 450 | 4.0 Years
Solar + Battery (13kWh) | 28000 | 30% Tax Credit ($8,400) | 19600 | 2400 | 8.2 Years
Calculator
Net Investment: Gross Cost - (Federal Tax Credit + State Rebates)
Simple Payback: Net Investment / Annual Energy Savings
ROI (10-Year): ((10-Year Total Savings - Net Investment) / Net Investment) * 100